Orchid assay method OM-6

Calculate concentration as (sample absorbance - approved blank) / slope, then multiply by the sample dilution factor.

| sample | wells | dilution_factor |
| --- | --- | --- |
| Orchid-K | B05 and B06 | 4 |
| Control-Q | B07 and B08 | 2 |

Average valid replicate concentrations. Do not substitute an invalidated well.

| quality_control | acceptable_mg_per_l |
| --- | --- |
| Control-Q | 8.0 to 12.0 |

The method contains no stability result after 30 days.